## GSSG 1
Software Version | 2.09.1
Experiment File Path: | C:\Users\Public\Documents\Experiments\GSHignacio2.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\GSH.prt
Plate Number | Plate 2
Date | 2024-05-21
Time | 20:30
Reader Type: | Cytation5
Reader Serial Number: | 150814D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE- VWR
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 360/20, Emission: 460/20
| Optics: Top, Gain: extended | [14 empty] | 785.17
| Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range | [14 empty] | 9114.8
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 21.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | GSSG Plate 1
| A | 13481 | 13108 | 22122 | 22272 | 15680 | 14150 | 14842 | 13099 | 13218 | 13772 |  | 20920 | 360.46 | 1E en adelante
| B | 13405 | 12128 | 11244 | 14042 | 13779 | 14074 | 24595 | 27845 | 14229 | 14549 | 14584 |  | 360.46 | 13G Fin
| C | 15010 | 14877 | 15994 | 14884 | 15503 | 13963 | 14468 | 14434 | 12568 | 11829 | 18094 | 16180 | 360.46
| D | 15917 | 16283 | 12364 | 11265 | 17190 | 18586 | 16588 | 17626 | 12176 | 10757 | 15615 | 13971 | 360.46
| E |  | 20987 | 15217 | 11012 | 13118 | 13127 | 19782 | 19111 | 14664 | 15746 | 14899 | 14495 | 360.46
| F | 12545 | 12233 | 12757 | 13046 | 13145 | 11024 | 12569 | 11658 | 20612 | 20038 | 17689 | 13663 | 360.46
| G | 15826 | 20797 | 14730 | 14221 | 20664 | 21633 | 16326 | 18353 | 12938 | 13065 | 8050 | 8079 | 360.46
| H | 17870 | 18209 | 14211 | 15493 | 18707 | 17309 | 18969 | 19046 | 26058 | 20478 | 8716 | 9042 | 360.46
| A | 1: 1E; 3: 10E; 5: 6d; 7: 1F; 9: 11F; 11: 6G
| B | 1: 3E; 3: 11E; 5: 7d; 7: 2F; 9: 12F; 11: 8G
| C | 1: 4E; 3: 12E; 5: 8d; 7: 3F; 9: 13F; 11: 10G
| D | 1: 5E; 3: 1D; 5: 9d; 7: 4F; 9: 1G; 11: 11G
| E | 1: 6E; 3: 2D; 5: 10D; 7: 5F; 9: 2G; 11: 12G
| F | 1: 7E; 3: 3D; 5: 11D; 7: 6F; 9: 3G; 11: 13G
| G | 1: 8E; 3: 4D; 5: 12D; 7: 8F; 9: 4G
| H | 1: 9E; 3: 5d; 5: 13D; 7: 10F; 9: 5G
| Codigo Muestra | Identificador | Resultados | Resultados | PROMEDIO | D. EST | GSSG ng/microL | mg/mL | mg/microL | nanog/mg de prot | microG de GSSG / mg de prot
| 1E | LXN01 | 13481 | 13108 | 13294.5 | 263.7508 | 5.3233 | 0.76423 | 0.00076423 | 6965.5397 | 6.9655
| 3E | ZSE01 | 13405 | 12128 | 12766.5 | 902.9754 | 4.6508 | 0.63349 | 0.00063349 | 7341.6388 | 7.3416
| 4E | LYH01 | 15010 | 14877 | 14943.5 | 94.0452 | 7.4235 | 0.82328 | 0.00082328 | 9016.9518 | 9.017
| 5E | VTJ01 | 15917 | 16283 | 16100 | 258.8011 | 8.8964 | 0.77689 | 0.00077689 | 11451.3602 | 11.4514
| 6E | KVW01 |  | 20987 | 20987 |  | 15.1205 | 0.77689 | 0.00077689 | 19462.9844 | 19.463
| 7E | KLM01 | 12545 | 12233 | 12389 | 220.6173 | 4.1701 | 0.43526 | 0.00043526 | 9580.6144 | 9.5806
| 8E | STR01 | 15826 | 20797 | 18311.5 | 3515.0278 | 11.713 | 0.70097 | 0.00070097 | 16709.7078 | 16.7097
| 9E | WXY01 | 17870 | 18209 | 18039.5 | 239.7092 | 11.3666 | 0.59975 | 0.00059975 | 18952.2984 | 18.9523
| 10E | TSO01 | 22122 | 22272 | 22197 | 106.066 | 16.6616 | 0.7558 | 0.0007558 | 22045.027 | 22.045
| 11E | VJI01 | 11244 | 14042 | 12643 | 1978.4848 | 4.4935 | 0.64614 | 0.00064614 | 6954.442 | 6.9544
| 12E | FTB01 | 15994 | 14884 | 15439 | 784.8885 | 8.0546 | 0.88233 | 0.00088233 | 9128.7596 | 9.1288
| 1D | LXN00 | 12364 | 11265 | 11814.5 | 777.1104 | 3.4384 | 0.74736 | 0.00074736 | 4600.6548 | 4.6007
| 2D | LHM00 | 15217 | 11012 | 13114.5 | 2973.384 | 5.0941 | 0.58288 | 0.00058288 | 8739.513 | 8.7395
| 3D | ZSE00 | 12757 | 13046 | 12901.5 | 204.3539 | 4.8228 | 0.69253 | 0.00069253 | 6963.9493 | 6.9639
| 4D | LYH00 | 14730 | 14221 | 14475.5 | 359.9174 | 6.8274 | 0.6841 | 0.0006841 | 9980.1831 | 9.9802
| 5D | VTJ00 | 14211 | 15493 | 14852 | 906.5109 | 7.307 | 0.60396 | 0.00060396 | 12098.3133 | 12.0983
| 6D | KVW00 | 15680 | 14150 | 14915 | 1081.8734 | 7.3872 | 0.78111 | 0.00078111 | 9457.3583 | 9.4574
| 7D | KLM00 | 13779 | 14074 | 13926.5 | 208.5965 | 6.1282 | 0.74736 | 0.00074736 | 8199.7891 | 8.1998
| 8D | STR00 | 15503 | 13963 | 14733 | 1088.9444 | 7.1554 | 0.57866 | 0.00057866 | 12365.4789 | 12.3655
| 9D | WXY00 | 17190 | 18586 | 17888 | 987.1211 | 11.1736 | 0.68832 | 0.00068832 | 16233.2595 | 16.2333
| 10D | TSO00 | 13118 | 13127 | 13122.5 | 6.364 | 5.1042 | 0.77267 | 0.00077267 | 6605.9851 | 6.606
| 11D | VJI00 | 13145 | 11024 | 12084.5 | 1499.7735 | 3.7822 | 0.71784 | 0.00071784 | 5268.9112 | 5.2689
| 12D | FTB00 | 20664 | 21633 | 21148.5 | 685.1865 | 15.3262 | 0.59553 | 0.00059553 | 25735.484 | 25.7355
| 13D | RLE00 | 18707 | 17309 | 18008 | 988.5353 | 11.3265 | 0.60818 | 0.00060818 | 18623.4722 | 18.6235
| 1F | LXN10 | 14842 | 13099 | 13970.5 | 1232.4871 | 6.1843 | 0.71784 | 0.00071784 | 8615.0965 | 8.6151
| 2F | LHM10 | 24595 | 27845 | 26220 | 2298.097 | 21.7853 | 0.76845 | 0.00076845 | 28349.646 | 28.3496
| 3F | ZSE10 | 14468 | 14434 | 14451 | 24.0416 | 6.7962 | 0.66301 | 0.00066301 | 10250.5558 | 10.2506
| 4F | LYH10 | 16588 | 17626 | 17107 | 733.9768 | 10.1789 | 0.84859 | 0.00084859 | 11995.1649 | 11.9952
| 5F | VTJ10 | 19782 | 19111 | 19446.5 | 474.4687 | 13.1586 | 0.73049 | 0.00073049 | 18013.2367 | 18.0132
| 6F | KVW10 | 12569 | 11658 | 12113.5 | 644.1743 | 3.8192 | 0.77267 | 0.00077267 | 4942.827 | 4.9428
| 8F | STR10 | 16326 | 18353 | 17339.5 | 1433.3054 | 10.4751 | 0.69253 | 0.00069253 | 15125.6752 | 15.1257
| 10F | TSO10 | 18969 | 19046 | 19007.5 | 54.4472 | 12.5994 | 0.62084 | 0.00062084 | 20294.3378 | 20.2943
| 11F | VJI10 | 13218 | 13772 | 13495 | 391.7372 | 5.5787 | 0.65879 | 0.00065879 | 8467.9984 | 8.468
| 12F | FTB10 | 14229 | 14549 | 14389 | 226.2742 | 6.7173 | 0.74736 | 0.00074736 | 8987.9518 | 8.988
| 13F | RLE10 | 12568 | 11829 | 12198.5 | 522.5519 | 3.9274 | 0.64192 | 0.00064192 | 6118.2233 | 6.1182
| 1G | LXN11 | 12176 | 10757 | 11466.5 | 1003.3845 | 2.9951 | 0.88655 | 0.00088655 | 3378.4466 | 3.3784
| 2G | LHM11 | 14664 | 15746 | 15205 | 765.0895 | 7.7565 | 0.72206 | 0.00072206 | 10742.2598 | 10.7423
| 3G | ZSE11 | 20612 | 20038 | 20325 | 405.8793 | 14.2774 | 0.6841 | 0.0006841 | 20870.3805 | 20.8704
| 4G | LYH11 | 12938 | 13065 | 13001.5 | 89.8026 | 4.9501 | 0.69675 | 0.00069675 | 7104.5869 | 7.1046
| 5G | VTJ11 | 26058 | 20478 | 23268 | 3945.6558 | 18.0257 | 0.62084 | 0.00062084 | 29034.5226 | 29.0345
| 6G | KVW11 |  | 20920 | 20920 |  | 15.0352 | 0.56179 | 0.00056179 | 26763.1347 | 26.7631
| 8G | STR11 | 14584 |  | 14584 |  | 6.9656 | 0.69253 | 0.00069253 | 10058.1593 | 10.0582
| 10G | TSO11 | 18094 | 16180 | 17137 | 1353.4024 | 10.2172 | 0.78532 | 0.00078532 | 13010.1309 | 13.0101
| 11G | VJI11 | 15615 | 13971 | 14793 | 1162.4835 | 7.2318 | 0.70941 | 0.00070941 | 10194.1859 | 10.1942
| 12G | FTB11 | 14899 | 14495 | 14697 | 285.6711 | 7.1095 | 0.78532 | 0.00078532 | 9053.0219 | 9.053
| 13G | RLE11 | 17689 | 13663 | 15676 | 2846.8119 | 8.3564 | 0.70097 | 0.00070097 | 11921.2038 | 11.9212

## GSSG 2
Software Version | 2.09.1
Experiment File Path: | C:\Users\Public\Documents\Experiments\GSHignacio3.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\GSH.prt | [21 empty] | GSSG ng/microL
Plate Number | Plate 1 | [19 empty] | 1A | 21718 | 16.0516
Date | 2024-05-22 | [19 empty] | 2A | 18175.5 | 11.5398
Time | 9:26 | [19 empty] | 3A | 20898.5 | 15.0078
Reader Type: | Cytation5 | [19 empty] | 4A | 19645 | 13.4114
Reader Serial Number: | Unknown | [19 empty] | 5A | 25008.5 | 20.2424
Reading Type | Reader | [19 empty] | 6A | 21465 | 15.7293
[21 empty] | 7A | 21999 | 16.4094
Procedure Details | [20 empty] | 8A | 17960 | 11.2653
Plate Type | 96 WELL PLATE- VWR
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 360/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results | [15 empty] | 785.17
Actual Temperature: | 18.8 | [14 empty] | 9114.8
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Calibrado GSSG ng/µL |  |  | Cálculos[GSSG] cal
| A | 20984 | 22452 | 20600 | 20429 | 15947 | 16705 | 19084 | 18741 | 17549 | 14482 | 16688 | 17697 | 360.46 | 0 | 8806.5 | 695.086
| B | 17348 | 19003 | 17761 | 19722 | 17571 | 19050 | 26882 | 19773 | 16172 | 13972 | 17577 | 16903 | 360.46 | 2 | 11127 | 1138.4419
| C | 21283 | 20514 | 20067 | 24500 | 22294 | 24300 | 19298 | 18532 | 14706 | 14540 | 20315 | 20345 | 360.46 | 4 | 13284 | 502.0458 | 100
| D | 20267 | 19023 | 15003 | 24321 | 24004 | 23038 | 20236 | 15941 | 19301 | 17832 | 22036 | 24361 | 360.46 | 8 | 15767.5 | 1612.9106 | 10
| E | 23719 | 26298 | 19687 | 21342 | 26350 | 24948 | 14849 | 17231 | 8315 | 9298 | 25581 | 25975 | 360.46 | 10 | 17192.5 | 713.4707 |  | 10
| F | 22130 | 20800 | 18624 | 20561 | 16468 | 28636 | 25367 | 14597 | 10322 | 11932 | 27614 | 29573 | 360.46 | 11.7857 | 17240 | 476.59 | 1.2 | 1.2 | 11.7857
| G | 23505 | 20493 | 17011 | 17358 | 18178 | 16568 | 18115 | 8773 | 13639 | 12929 | 31877 | 31826 | 360.46 | 15.1724 | 20330 | 21.2132 | 1.6 | 1.6 | 15.1724
| H | 17919 | 18001 | 16690 | 23627 | 21199 | 20095 | 23204 | 8784 | 14627 | 16908 | 34566 | 35209 | 360.46 | 18.3333 | 23198.5 | 1644.0233 | 2 | 2 | 18.3333
[15 empty] | 22 | 25778 | 278.6001 | 2.5 | 2.5 | 22
[15 empty] | 25.3846 | 28593.5 | 1385.2222 | 3 | 3 | 25.3846
[15 empty] | 28.5185 | 31851.5 | 36.0624 | 3.5 | 3.5 | 28.5185
[15 empty] | 31.4286 | 34887.5 | 454.6697 | 4 | 4 | 31.4286
| Código muestra | 1: Resultados; 2: GSSG ng/microL; 3: mg/mL; 4: mg/microL; 5: nanog/mg de prot; 6: microG de GSSG / mg de prot; 7: Identificador
| 1A | 1: 21718; 2: 16.0516; 3: 0.69675; 4: 0.00069675; 5: 23037.6747; 6: 23.0377; 7: NTD
| 2A | 1: 18175.5; 2: 11.5398; 3: 0.50696; 4: 0.00050696; 5: 22762.7716; 6: 22.7628; 7: JSZ
| 3A | 1: 20898.5; 2: 15.0078; 3: 0.69675; 4: 0.00069675; 5: 21539.6921; 6: 21.5397; 7: ODB
| 4A | 1: 19645; 2: 13.4114; 3: 0.76845; 4: 0.00076845; 5: 17452.438; 6: 17.4524; 7: RZA
| 5A | 1: 25008.5; 2: 20.2424; 3: 0.74315; 4: 0.00074315; 5: 27238.7368; 6: 27.2387; 7: NSA
| 6A | 1: 21465; 2: 15.7293; 3: 0.75158; 4: 0.00075158; 5: 20928.3094; 6: 20.9283; 7: NTT
| 7A | 1: 21999; 2: 16.4094; 3: 0.72206; 4: 0.00072206; 5: 22725.9242; 6: 22.7259; 7: TPC
| 8A | 1: 17960; 2: 11.2653; 3: 0.60818; 4: 0.00060818; 5: 18522.9542; 6: 18.523; 7: TRP
| 9A | 1: 20514.5; 2: 14.5188; 3: 0.80641; 4: 0.00080641; 5: 18004.1818; 6: 18.0042; 7: JFL
| 10A | 1: 18741.5; 2: 12.2607; 3: 0.55335; 4: 0.00055335; 5: 22157.0256; 6: 22.157; 7: MGB
| 11A | 1: 22283.5; 2: 16.7718; 3: 0.83172; 4: 0.00083172; 5: 20165.2611; 6: 20.1653; 7: RDM
| 12a | 1: 19662; 2: 13.433; 3: 0.78532; 4: 0.00078532; 5: 17105.0899; 6: 17.1051; 7: EDB
| 14A | 1: 20514.5; 2: 14.5188; 3: 0.86968; 4: 0.00086968; 5: 16694.4693; 6: 16.6945; 7: ISC
| 15A | 1: 19592.5; 2: 13.3445; 3: 0.87389; 4: 0.00087389; 5: 15270.1768; 6: 15.2702; 7: QPS
| 16A | 1: 17184.5; 2: 10.2776; 3: 0.67988; 4: 0.00067988; 5: 15116.8119; 6: 15.1168; 7: DSK
| 17A | 1: 20158.5; 2: 14.0654; 3: 0.76423; 4: 0.00076423; 5: 18404.5102; 6: 18.4045; 7: ASG
| 18A | 1: 16326; 2: 9.1843; 3: 0.86124; 4: 0.00086124; 5: 10663.9883; 6: 10.664; 7: REO
| 19A | 1: 18310.5; 2: 11.7117; 3: 0.57866; 4: 0.00057866; 5: 20239.4422; 6: 20.2394; 7: WTG
| 20A | 1: 23297; 2: 18.0626; 3: 0.71362; 4: 0.00071362; 5: 25311.1049; 6: 25.3111; 7: LBM
| 1B | 1: 23521; 2: 18.3479; 3: 0.86124; 4: 0.00086124; 5: 21304.0199; 6: 21.304; 7: NTD/2 - JSZ/2
| 3B | 1: 25649; 2: 21.0581; 3: 0.69675; 4: 0.00069675; 5: 30223.2386; 6: 30.2232; 7: ODB/2
| 4B | 1: 22552; 2: 17.1137; 3: 0.86124; 4: 0.00086124; 5: 19871.0538; 6: 19.8711; 7: RZA/2
| 5B | 1: 17373; 2: 10.5177; 3: 0.80219; 4: 0.00080219; 5: 13111.209; 6: 13.1112; 7: NSA/2
| 6B | 1: 20647; 2: 14.6875; 3: 0.73471; 4: 0.00073471; 5: 19990.8781; 6: 19.9909; 7: NTT/2
| 7B | 1: 18912.5; 2: 12.4784; 3: 0.79798; 4: 0.00079798; 5: 15637.6274; 6: 15.6376; 7: TPC/2
| 8B | 1: 23327.5; 2: 18.1014; 3: 0.59553; 4: 0.00059553; 5: 30395.532; 6: 30.3955; 7: TRP/2 - JFL/2
| 10B | 1: 18915; 2: 12.4816; 3: 0.74736; 4: 0.00074736; 5: 16700.8693; 6: 16.7009; 7: MGB/2
| 11B | 1: 18088.5; 2: 11.429; 3: 0.71362; 4: 0.00071362; 5: 16015.4462; 6: 16.0154; 7: RDM/2 - EDB/2
| 13B | 1: 16040; 2: 8.82; 3: 0.73893; 4: 0.00073893; 5: 11936.1997; 6: 11.9362; 7: SVK/2
| 14B | 1: 19982; 2: 13.8406; 3: 0.72206; 4: 0.00072206; 5: 19168.2187; 6: 19.1682; 7: ISC/2
| 15B | 1: 13444; 2: 5.5137; 3: 0.63771; 4: 0.00063771; 5: 8646.1689; 6: 8.6462; 7: QPS/2
| 16B | 1: 15994; 2: 8.7614; 3: 0.86968; 4: 0.00086968; 5: 10074.3522; 6: 10.0744; 7: DSK/2
| 17B | 1: 16015.5; 2: 8.7888; 3: 0.76845; 4: 0.00076845; 5: 11437.0134; 6: 11.437; 7: ASG/2
| 18B | 1: 15072; 2: 7.5871; 3: 0.64192; 4: 0.00064192; 5: 11819.3988; 6: 11.8194; 7: REO/2
| 19B | 1: 14623; 2: 7.0153; 3: 0.77267; 4: 0.00077267; 5: 9079.2942; 6: 9.0793; 7: WTG/2
| 20B | 1: 18566.5; 2: 12.0378; 3: 0.8275; 4: 0.0008275; 5: 14547.179; 6: 14.5472; 7: LBM/2

## GSSG DEF
Codigo Muestra | Identificador | microG de GSSG / mg de prot | Tratamiento
1E | LXN01 | 6.9655 | PRE
3E | ZSE01 | 7.3416 | PRE
4E | LYH01 | 9.017 | PRE
5E | VTJ01 | 11.4514 | PRE
6E | KVW01 | 19.463 | PRE
7E | KLM01 | 9.5806 | PRE
8E | STR01 | 16.7097 | PRE
9E | WXY01 | 18.9523 | PRE
10E | TSO01 | 22.045 | PRE
11E | VJI01 | 6.9544 | PRE
12E | FTB01 | 9.1288 | PRE
1D | LXN00 | 4.6007 | PRE
2D | LHM00 | 8.7395 | PRE
3D | ZSE00 | 6.9639 | PRE
4D | LYH00 | 9.9802 | PRE
5D | VTJ00 | 12.0983 | PRE
6D | KVW00 | 9.4574 | PRE
7D | KLM00 | 8.1998 | PRE
8D | STR00 | 12.3655 | PRE
9D | WXY00 | 16.2333 | PRE
10D | TSO00 | 6.606 | PRE
11D | VJI00 | 5.2689 | PRE
12D | FTB00 | 25.7355 | PRE
13D | RLE00 | 18.6235 | PRE
1F | LXN10 | 8.6151 | POST
2F | LHM10 | 28.3496 | POST
3F | ZSE10 | 10.2506 | POST
4F | LYH10 | 11.9952 | POST
5F | VTJ10 | 18.0132 | POST
6F | KVW10 | 4.9428 | POST
8F | STR10 | 15.1257 | POST
10F | TSO10 | 20.2943 | POST
11F | VJI10 | 8.468 | POST
12F | FTB10 | 8.988 | POST
13F | RLE10 | 6.1182 | POST
1G | LXN11 | 3.3784 | POST
2G | LHM11 | 10.7423 | POST
3G | ZSE11 | 20.8704 | POST
4G | LYH11 | 7.1046 | POST
5G | VTJ11 | 29.0345 | POST
6G | KVW11 | 26.7631 | POST
8G | STR11 | 10.0582 | POST
10G | TSO11 | 13.0101 | POST
11G | VJI11 | 10.1942 | POST
12G | FTB11 | 9.053 | POST
13G | RLE11 | 11.9212 | POST
1A | NTD | 23.0377 | PRE
2A | JSZ | 22.7628 | PRE
3A | ODB | 21.5397 | PRE
4A | RZA | 17.4524 | PRE
5A | NSA | 27.2387 | PRE
6A | NTT | 20.9283 | PRE
7A | TPC | 22.7259 | PRE
8A | TRP | 18.523 | PRE
9A | JFL | 18.0042 | PRE
10A | MGB | 22.157 | PRE
11A | RDM | 20.1653 | PRE
12A | EDB | 17.1051 | PRE
14A | ISC | 16.6945 | PRE
15A | QPS | 15.2702 | PRE
16A | DSK | 15.1168 | PRE
17A | ASG | 18.4045 | PRE
18A | REO | 10.664 | PRE
19A | WTG | 20.2394 | PRE
20A | LBM | 25.3111 | PRE
1B | NTD/2 | 21.304 | POST
3B | ODB/2 | 30.2232 | POST
4B | RZA/2 | 19.8711 | POST
5B | NSA/2 | 13.1112 | POST
6B | NTT/2 | 19.9909 | POST
7B | TPC/2 | 15.6376 | POST
8B | TRP/2 | 30.3955 | POST
10B | MGB/2 | 16.7009 | POST
11B | RDM/2 | 16.0154 | POST
13B | SVK/2 | 11.9362 | POST
14B | ISC/2 | 19.1682 | POST
15B | QPS/2 | 8.6462 | POST
16B | DSK/2 | 10.0744 | POST
17B | ASG/2 | 11.437 | POST
18B | REO/2 | 11.8194 | POST
19B | WTG/2 | 9.0793 | POST
20B | LBM/2 | 14.5472 | POST

## GSH 1
Software Version | 2.09.1
Experiment File Path: | C:\Users\Public\Documents\Experiments\GSHignacio3.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\GSH.prt
Plate Number | Plate 3
Date | 2024-05-22
Time | 9:32
Reader Type: | Cytation5
Reader Serial Number: | 150814D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE- VWR
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 360/20, Emission: 460/20
| Optics: Top, Gain: extended | [13 empty] | 1679.6
| Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range | [13 empty] | 13340
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 18.7
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | GSH
| A | 57024 | 63893 | 73700 | 62685 | 87883 | 76083 | 68633 | 69998 | 87994 | 87821 | 82200 | 83696 | 360.46
| B | 60783 | 64525 | 71790 | 70484 | 65861 | 66459 | 75796 | 77260 | 55828 | 66524 | 60048 | 68565 | 360.46
| C | 89699 | 92793 | 67075 | 70340 | 67835 | 71294 | 67633 | 85236 | 49116 | 55765 | 75976 | 78281 | 360.46
| D | 55356 | 55461 | 53061 | 50815 | 56966 | 60762 | 80472 | 75271 | 70514 | 78582 | 81748 | 83335 | 360.46
| E | 83295 | 93373 | 85535 | 73652 | 73023 | 88217 | 94364 | 89167 | 77230 | 56031 | 78407 | 76601 | 360.46
| F | 88161 | 91958 | 74693 | 70222 | 56791 | 57524 | 74257 | 72463 | 54635 | 51358 | 75518 | 76563 | 360.46
| G | 92367 | 94088 | 72354 | 71255 | 82784 | 80780 | 78281 | 73481 | 61126 | 59869 | 12536 | 12267 | 360.46
| H | 74965 | 78324 | 72361 | 65536 | 85833 | 91236 | 65930 | 65379 | 69321 | 79677 | 12185 | 12400 | 360.46
[9 empty] | prot bradford | brad prot
[5 empty] | PROMEDIO | D. EST | GSSG ng/microL | mg/mL | mg/microL | nanog/mg de prot | microG de GSSG / mg de prot
| 1E | LXN01 | 57024 | 63893 | 60458.5 | 4857.1165 | 28.0534 | 0.76423 | 0.00076423 | 36707.8502 | 36.7079
| 3E | ZSE01 | 60783 | 64525 | 62654 | 2645.9936 | 29.3606 | 0.63349 | 0.00063349 | 46347.4651 | 46.3475
| 4E | LYH01 | 89699 | 92793 | 91246 | 2187.7884 | 46.3837 | 0.82328 | 0.00082328 | 56339.992 | 56.34
| 5E | VTJ01 | 55356 | 55461 | 55408.5 | 74.2462 | 25.0467 | 0.77689 | 0.00077689 | 32239.8557 | 32.2399
| 6E | KVW01 | 83295 | 93373 | 88334 | 7126.2221 | 44.6499 | 0.77689 | 0.00077689 | 57472.8297 | 57.4728
| 7E | KLM01 | 88161 | 91958 | 90059.5 | 2684.8844 | 45.6772 | 0.43526 | 0.00043526 | 104942.5842 | 104.9426
| 8E | STR01 | 92367 | 94088 | 93227.5 | 1216.9308 | 47.5634 | 0.70097 | 0.00070097 | 67853.6945 | 67.8537
| 9E | WXY01 | 74965 | 78324 | 76644.5 | 2375.1717 | 37.6902 | 0.59975 | 0.00059975 | 62843.5449 | 62.8435
| 10E | TSO01 | 73700 | 62685 | 68192.5 | 7788.7812 | 32.6581 | 0.7558 | 0.0007558 | 43209.9843 | 43.21
| 11E | VJI01 | 71790 | 70484 | 71137 | 923.4815 | 34.4112 | 0.64614 | 0.00064614 | 53256.4507 | 53.2565
| 12E | FTB01 | 67075 | 70340 | 68707.5 | 2308.7036 | 32.9647 | 0.88233 | 0.00088233 | 37361.037 | 37.361
| 1D | LXN00 | 53061 | 50815 | 51938 | 1588.1618 | 22.9805 | 0.74736 | 0.00074736 | 30748.7009 | 30.7487
| 2D | LHM00 | 85535 | 73652 | 79593.5 | 8402.5499 | 39.446 | 0.58288 | 0.00058288 | 67674.7205 | 67.6747
| 3D | ZSE00 | 74693 | 70222 | 72457.5 | 3161.4744 | 35.1974 | 0.69253 | 0.00069253 | 50823.9711 | 50.824
| 4D | LYH00 | 72354 | 71255 | 71804.5 | 777.1104 | 34.8086 | 0.6841 | 0.0006841 | 50882.3403 | 50.8823
| 5D | VTJ00 | 72361 | 65536 | 68948.5 | 4826.0038 | 33.1082 | 0.60396 | 0.00060396 | 54818.0838 | 54.8181
| 6D | KVW00 | 87883 | 76083 | 81983 | 8343.86 | 40.8687 | 0.78111 | 0.00078111 | 52321.5934 | 52.3216
| 7D | KLM00 | 65861 | 66459 | 66160 | 422.8499 | 31.448 | 0.74736 | 0.00074736 | 42078.5114 | 42.0785
| 8D | STR00 | 67835 | 71294 | 69564.5 | 2445.8824 | 33.4749 | 0.57866 | 0.00057866 | 57849.1762 | 57.8492
| 9D | WXY00 | 56966 | 60762 | 58864 | 2684.1773 | 27.1041 | 0.68832 | 0.00068832 | 39377.3013 | 39.3773
| 10D | TSO00 | 73023 | 88217 | 80620 | 10743.7804 | 40.0572 | 0.77267 | 0.00077267 | 51842.5316 | 51.8425
| 11D | VJI00 | 56791 | 57524 | 57157.5 | 518.3093 | 26.0881 | 0.71784 | 0.00071784 | 36342.4103 | 36.3424
| 12D | FTB00 | 82784 | 80780 | 81782 | 1417.042 | 40.749 | 0.59553 | 0.00059553 | 68424.8231 | 68.4248
| 13D | RLE00 | 85833 | 91236 | 88534.5 | 3820.4979 | 44.7693 | 0.60818 | 0.00060818 | 73611.6417 | 73.6116
| 1F | LXN10 | 68633 | 69998 | 69315.5 | 965.2008 | 33.3267 | 0.71784 | 0.00071784 | 46426.3043 | 46.4263
| 2F | LHM10 | 75796 | 77260 | 76528 | 1035.2043 | 37.6209 | 0.76845 | 0.00076845 | 48956.6762 | 48.9567
| 3F | ZSE10 | 67633 | 85236 | 76434.5 | 12447.2007 | 37.5652 | 0.66301 | 0.00066301 | 56658.4448 | 56.6584
| 4F | LYH10 | 80472 | 75271 | 77871.5 | 3677.6624 | 38.4208 | 0.84859 | 0.00084859 | 45276.1481 | 45.2761
| 5F | VTJ10 | 94364 | 89167 | 91765.5 | 3674.8339 | 46.693 | 0.73049 | 0.00073049 | 63919.7542 | 63.9198
| 6F | KVW10 | 74257 | 72463 | 73360 | 1268.5496 | 35.7347 | 0.77267 | 0.00077267 | 46248.3465 | 46.2483
| 8F | STR10 | 78281 | 73481 | 75881 | 3394.1125 | 37.2357 | 0.69253 | 0.00069253 | 53767.192 | 53.7672
| 10F | TSO10 | 65930 | 65379 | 65654.5 | 389.6158 | 31.147 | 0.62084 | 0.00062084 | 50169.5213 | 50.1695
| 11F | VJI10 | 87994 | 87821 | 87907.5 | 122.3295 | 44.396 | 0.65879 | 0.00065879 | 67389.8115 | 67.3898
| 12F | FTB10 | 55828 | 66524 | 61176 | 7563.2141 | 28.4806 | 0.74736 | 0.00074736 | 38108.0589 | 38.1081
| 13F | RLE10 | 49116 | 55765 | 52440.5 | 4701.553 | 23.2796 | 0.64192 | 0.00064192 | 36265.473 | 36.2655
| 1G | LXN11 | 70514 | 78582 | 74548 | 5704.9375 | 36.442 | 0.88655 | 0.00088655 | 41105.6164 | 41.1056
| 2G | LHM11 | 77230 | 56031 | 66630.5 | 14989.9567 | 31.7281 | 0.72206 | 0.00072206 | 43941.1807 | 43.9412
| 3G | ZSE11 | 54635 | 51358 | 52996.5 | 2317.1889 | 23.6107 | 0.6841 | 0.0006841 | 34513.5172 | 34.5135
| 4G | LYH11 | 61126 | 59869 | 60497.5 | 888.8332 | 28.0766 | 0.69675 | 0.00069675 | 40296.4157 | 40.2964
| 5G | VTJ11 | 69321 | 79677 | 74499 | 7322.7978 | 36.4128 | 0.62084 | 0.00062084 | 58651.3825 | 58.6514
| 6G | KVW11 | 82200 | 83696 | 82948 | 1057.8317 | 41.4432 | 0.56179 | 0.00056179 | 73770.1419 | 73.7701
| 8G | STR11 | 60048 | 68565 | 64306.5 | 6022.4285 | 30.3444 | 0.69253 | 0.00069253 | 43816.4659 | 43.8165
| 10G | TSO11 | 75976 | 78281 | 77128.5 | 1629.8811 | 37.9784 | 0.78532 | 0.00078532 | 48360.2348 | 48.3602
| 11G | VJI11 | 81748 | 83335 | 82541.5 | 1122.1785 | 41.2012 | 0.70941 | 0.00070941 | 58078.4751 | 58.0785
| 12G | FTB11 | 78407 | 76601 | 77504 | 1277.0348 | 38.202 | 0.78532 | 0.00078532 | 48644.9142 | 48.6449
| 13G | RLE11 | 75518 | 76563 | 76040.5 | 738.9266 | 37.3306 | 0.70097 | 0.00070097 | 53255.6479 | 53.2556

## GSH 2
Software Version | 2.09.1
Experiment File Path: | C:\Users\Public\Documents\Experiments\GSHignacio2.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\GSH.prt
Plate Number | Plate 1
Date | 2024-05-21
Time | 19:52
Reader Type: | Cytation5
Reader Serial Number: | 150814D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE- VWR
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 360/20, Emission: 460/20
| Optics: Top, Gain: extended | [13 empty] | 1679.6
| Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range | [13 empty] | 13340
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 20.5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | GSH Plate 2
| A | 128177 | 111104 | 103826 | 97680 | 80748 | 85108 | 73279 | 74328 | 85785 | 84252 | 9544 | 10339 | 360.46
| B | 116854 | 118053 | 91620 | 90730 | 82036 | 85210 | 103583 | 97960 | 102052 | 98413 | 9255 | 9358 | 360.46
| C | 102374 | 112132 | 101273 | 99012 | 142351 | 125621 | 78653 | 84764 | 118027 | 106492 | 9311 | 10255 | 360.46
| D | 72906 | 101554 | 98514 | 98792 | 86339 | 99759 | 92882 | 87982 | 104066 | 105334 | 8898 | 9587 | 360.46
| E | 128889 | 122441 | 89848 | 91305 | 96481 | 91360 | 103260 | 94807 | 8834 | 9019 | 10065 | 9592 | 360.46
| F | 103917 | 96982 | 81969 | 84206 | 112462 | 108938 | 128853 | 114541 | 8885 | 9193 | 9203 | 9616 | 360.46
| G | 99221 | 96604 | 96027 | 115051 | 100788 | 90312 | 54294 | 65118 | 9285 | 9065 | 10083 | 10115 | 360.46
| H | 85235 | 73193 | 98267 | 96372 | 77287 | 68536 | 89431 | 105633 | 8652 | 33551 | 6793 | 9236 | 360.46
| Código muestra | Identificador | Resultados | Resultados | Promedio | Desviación | D. EST | GSSG ng/microL | mg/mL | mg/microL | nanog/mg de prot
| 1A | NTD | 128177 | 111104 | 119640.5 | 12072.4341 | 63.2892 | 0.69675 | 0.00069675 | 90834.5256 | 90.8345
| 2A | JSZ | 116854 | 118053 | 117453.5 | 847.821 | 61.9871 | 0.50696 | 0.00050696 | 122272.3522 | 122.2724
| 3A | ODB | 102374 | 112132 | 107253 | 6899.948 | 55.9139 | 0.69675 | 0.00069675 | 80249.3196 | 80.2493
| 4A | RZA | 72906 | 101554 | 87230 | 20257.1951 | 43.9926 | 0.76845 | 0.00076845 | 57248.351 | 57.2484
| 5A | NSA | 128889 | 122441 | 125665 | 4559.4245 | 66.876 | 0.74315 | 0.00074315 | 89990.406 | 89.9904
| 6A | NTT | 103917 | 96982 | 100449.5 | 4903.7855 | 51.8632 | 0.75158 | 0.00075158 | 69005.4686 | 69.0055
| 7A | TPC | 99221 | 96604 | 97912.5 | 1850.4984 | 50.3528 | 0.72206 | 0.00072206 | 69735.0467 | 69.735
| 8A | TRP | 85235 | 73193 | 79214 | 8514.9799 | 39.2201 | 0.60818 | 0.00060818 | 64487.34 | 64.4873
| 9A | JFL | 103826 | 97680 | 100753 | 4345.8783 | 52.0439 | 0.80641 | 0.00080641 | 64537.7508 | 64.5378
| 10A | MGB | 91620 | 90730 | 91175 | 629.325 | 46.3414 | 0.55335 | 0.00055335 | 83746.5226 | 83.7465
| 11A | RDM | 101273 | 99012 | 100142.5 | 1598.7684 | 51.6805 | 0.83172 | 0.00083172 | 62137.1044 | 62.1371
| 12A | EDB | 98514 | 98792 | 98653 | 196.5757 | 50.7936 | 0.78532 | 0.00078532 | 64678.6915 | 64.6787
| 14A | ISC | 89848 | 91305 | 90576.5 | 1030.2546 | 45.9851 | 0.86968 | 0.00086968 | 52876.124 | 52.8761
| 15A | QPS | 81969 | 84206 | 83087.5 | 1581.7979 | 41.5263 | 0.87389 | 0.00087389 | 47518.7035 | 47.5187
| 16A | DSK | 96027 | 115051 | 105539 | 13451.9994 | 54.8934 | 0.67988 | 0.00067988 | 80739.6498 | 80.7396
| 17A | ASG | 98267 | 96372 | 97319.5 | 1339.9674 | 49.9997 | 0.76423 | 0.00076423 | 65424.5553 | 65.4246
| 18A | REO | 80748 | 85108 | 82928 | 3082.9856 | 41.4313 | 0.86124 | 0.00086124 | 48106.5603 | 48.1066
| 19A | WTG | 82036 | 85210 | 83623 | 2244.3569 | 41.8451 | 0.57866 | 0.00057866 | 72313.9139 | 72.3139
| 20A | LBM | 142351 | 125621 | 133986 | 11829.8964 | 71.8302 | 0.71362 | 0.00071362 | 100655.673 | 100.6557
| 1B | NTD/2 | 86339 | 99759 | 93049 | 9489.373 | 47.4571 | 0.86124 | 0.00086124 | 55103.2623 | 55.1033
| 3B | ODB/2 | 96481 | 91360 | 93920.5 | 3621.0938 | 47.976 | 0.69675 | 0.00069675 | 68856.6045 | 68.8566
| 4B | RZA/2 | 112462 | 108938 | 110700 | 2491.8443 | 57.9662 | 0.86124 | 0.00086124 | 67305.4939 | 67.3055
| 5B | NSA/2 | 100788 | 90312 | 95550 | 7407.6506 | 48.9462 | 0.80219 | 0.00080219 | 61015.4507 | 61.0155
| 6B | NTT/2 | 77287 | 68536 | 72911.5 | 6187.8914 | 35.4677 | 0.73471 | 0.00073471 | 48274.3098 | 48.2743
| 7B | TPC/2 | 73279 | 74328 | 73803.5 | 741.755 | 35.9987 | 0.79798 | 0.00079798 | 45112.5981 | 45.1126
| 8B | TRP/2 | 103583 | 97960 | 100771.5 | 3976.0614 | 52.055 | 0.59553 | 0.00059553 | 87409.5573 | 87.4096
| 10B | MGB/2 | 78653 | 84764 | 81708.5 | 4321.1295 | 40.7052 | 0.74736 | 0.00074736 | 54465.0645 | 54.4651
| 11B | RDM/2 | 92882 | 87982 | 90432 | 3464.8232 | 45.899 | 0.71362 | 0.00071362 | 64318.3126 | 64.3183
| 13B | SVK/2 | 103260 | 94807 | 99033.5 | 5977.1736 | 51.0202 | 0.73893 | 0.00073893 | 69046.15 | 69.0461
| 14B | ISC/2 | 128853 | 114541 | 121697 | 10120.1123 | 64.5136 | 0.72206 | 0.00072206 | 89346.7789 | 89.3468
| 15B | QPS/2 | 54294 | 65118 | 59706 | 7653.7238 | 27.6054 | 0.63771 | 0.00063771 | 43288.5987 | 43.2886
| 16B | DSK/2 | 89431 | 105633 | 97532 | 11456.5441 | 50.1262 | 0.86968 | 0.00086968 | 57637.8608 | 57.6379
| 17B | ASG/2 | 85785 | 84252 | 85018.5 | 1083.9947 | 42.6759 | 0.76845 | 0.00076845 | 55534.9294 | 55.5349
| 18B | REO/2 | 102052 | 98413 | 100232.5 | 2573.1616 | 51.734 | 0.64192 | 0.00064192 | 80592.2588 | 80.5923
| 19B | WTG/2 | 118027 | 106492 | 112259.5 | 8156.4767 | 58.8947 | 0.77267 | 0.00077267 | 76222.3143 | 76.2223
| 20B | LBM/2 | 104066 | 105334 | 104700 | 896.6114 | 54.3939 | 0.8275 | 0.0008275 | 65732.8974 | 65.7329

## Cal GSH
Software Version | 2.09.1
Experiment File Path: | C:\Users\Public\Documents\Experiments\Calibrado IGnacio.xpt
Protocol File Path: | C:\Users\Public\Documents\Protocols\GSH.prt
Plate Number | Plate 1
Date | 2024-05-22
Time | 9:39
Reader Type: | Cytation5
Reader Serial Number: | 150814D
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE- VWR
Eject plate on completion
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 360/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 19.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | Calibrado GSH ng/µL
| A | 5881 | 5596 | 5863 | 5499 | 5729 | 6456 | 5641 | 5862 | 11663 | 12032 |  | 61883 | 360.46 | 0 | 11847.5 | 260.9224
| B | 5561 | 5451 | 5358 | 5221 | 5226 | 5177 | 5518 | 5337 | 15733 | 15276 | 60604 | 67411 | 360.46 | 2 | 15504.5 | 323.1478
| C | 5884 | 5389 | 5454 | 5103 | 5217 | 5574 | 5529 | 5127 | 24594 | 17926 | 66448 | 71068 | 360.46 | 4 | 21260 | 4714.988
| D | 5529 | 5470 | 5202 | 5193 | 4997 | 5242 | 5041 | 5047 | 23477 | 23957 | 76631 | 80055 | 360.46 | 8 | 23717 | 339.4113
| E | 5687 | 5597 | 5979 | 5169 | 5034 | 5134 | 5016 | 5070 | 26205 | 29357 | 5642 | 5722 | 360.46 | 10 | 27781 | 2228.8006
| F | 6064 | 5599 | 5704 | 5364 | 5230 | 5552 | 5188 | 5435 | 38138 | 35096 | 5750 | 6329 | 360.46 | 12 | 36617 | 2151.0188
| G | 5939 | 5960 | 5753 | 5753 | 5754 | 5586 | 5715 | 5590 | 43463 | 41358 | 6135 | 6172 | 360.46 | 16 | 42410.5 | 1488.4598
| H | 6594 | 6192 | 6357 | 6138 | 6322 | 6234 | 6083 | 6547 | 46492 | 47978 | 6606 | 7030 | 360.46 | 20 | 47235 | 1050.7607
[15 empty] | 25 | 61883 | 2096.2502
[15 empty] | 30 | 64007.5 | 4813.2759
[15 empty] | 35 | 68758 | 3266.8333
[15 empty] | 40 | 78343 | 2421.1336

## GSH DEF
Codigo Muestra | Identificador | nanog/mg de prot | Tratamiento
1E | LXN01 | 36.7079 | PRE
3E | ZSE01 | 46.3475 | PRE
4E | LYH01 | 56.34 | PRE
5E | VTJ01 | 32.2399 | PRE
6E | KVW01 | 57.4728 | PRE
7E | KLM01 | 104.9426 | PRE
8E | STR01 | 67.8537 | PRE
9E | WXY01 | 62.8435 | PRE
10E | TSO01 | 43.21 | PRE
11E | VJI01 | 53.2565 | PRE
12E | FTB01 | 37.361 | PRE
1D | LXN00 | 30.7487 | PRE
2D | LHM00 | 67.6747 | PRE
3D | ZSE00 | 50.824 | PRE
4D | LYH00 | 50.8823 | PRE
5D | VTJ00 | 54.8181 | PRE
6D | KVW00 | 52.3216 | PRE
7D | KLM00 | 42.0785 | PRE
8D | STR00 | 57.8492 | PRE
9D | WXY00 | 39.3773 | PRE
10D | TSO00 | 51.8425 | PRE
11D | VJI00 | 36.3424 | PRE
12D | FTB00 | 68.4248 | PRE
13D | RLE00 | 73.6116 | PRE
1F | LXN10 | 46.4263 | POST
2F | LHM10 | 48.9567 | POST
3F | ZSE10 | 56.6584 | POST
4F | LYH10 | 45.2761 | POST
5F | VTJ10 | 63.9198 | POST
6F | KVW10 | 46.2483 | POST
8F | STR10 | 53.7672 | POST
10F | TSO10 | 50.1695 | POST
11F | VJI10 | 67.3898 | POST
12F | FTB10 | 38.1081 | POST
13F | RLE10 | 36.2655 | POST
1G | LXN11 | 41.1056 | POST
2G | LHM11 | 43.9412 | POST
3G | ZSE11 | 34.5135 | POST
4G | LYH11 | 40.2964 | POST
5G | VTJ11 | 58.6514 | POST
6G | KVW11 | 73.7701 | POST
8G | STR11 | 43.8165 | POST
10G | TSO11 | 48.3602 | POST
11G | VJI11 | 58.0785 | POST
12G | FTB11 | 48.6449 | POST
13G | RLE11 | 53.2556 | POST
1A | NTD | 90.8345 | PRE
2A | JSZ | 122.2724 | PRE
3A | ODB | 80.2493 | PRE
4A | RZA | 57.2484 | PRE
5A | NSA | 89.9904 | PRE
6A | NTT | 69.0055 | PRE
7A | TPC | 69.735 | PRE
8A | TRP | 64.4873 | PRE
9A | JFL | 64.5378 | PRE
10A | MGB | 83.7465 | PRE
11A | RDM | 62.1371 | PRE
12A | EDB | 64.6787 | PRE
14A | ISC | 52.8761 | PRE
15A | QPS | 47.5187 | PRE
16A | DSK | 80.7396 | PRE
17A | ASG | 65.4246 | PRE
18A | REO | 48.1066 | PRE
19A | WTG | 72.3139 | PRE
20A | LBM | 100.6557 | PRE
1B | NTD/2 | 55.1033 | POST
3B | ODB/2 | 68.8566 | POST
4B | RZA/2 | 67.3055 | POST
5B | NSA/2 | 61.0155 | POST
6B | NTT/2 | 48.2743 | POST
7B | TPC/2 | 45.1126 | POST
8B | TRP/2 | 87.4096 | POST
10B | MGB/2 | 54.4651 | POST
11B | RDM/2 | 64.3183 | POST
13B | SVK/2 | 69.0461 | POST
14B | ISC/2 | 89.3468 | POST
15B | QPS/2 | 43.2886 | POST
16B | DSK/2 | 57.6379 | POST
17B | ASG/2 | 55.5349 | POST
18B | REO/2 | 80.5923 | POST
19B | WTG/2 | 76.2223 | POST
20B | LBM/2 | 65.7329 | POST